## WPS
WPS Public Queue
Updated: 11/26/2025
Work Request # | Technology Type(s) | Inverter kW-ac | Category Assignment | City | State | County | Current Application Status | Date Application Received | Commissioning Date | SUBSTATION | FEEDER
WP03018 | Panel | 5600 | 4 | Sturgeon Bay | WI | Door County | New Application | 2023-12-15 |  | #N/A | #N/A
WP03096 | Panel | 4.5 | 1 | DE PERE | WI | Brown County | Installation | 2024-03-01 |  | 242 | S242
WP03108 | Panel Storage | 425 | 3 | ANTIGO | WI | Langlade County | Installation | 2024-03-11 |  | 28 | S241
WP03131 | Biomass | 0 | 4 | KEWAUNEE | WI | Kewaunee County | Distribution Study | 2024-03-18 |  | 32 | NT21
WP03133 | Panel | 2.32 | 1 | GREEN BAY | WI | Brown County | Installation | 2024-03-21 |  | 48 | N241
WP03140 | Panel | 19.2 | 1 | CATO | WI | Manitowoc County | Installation | 2024-03-25 |  | 290 | Z241
WP03218 | Panel | 1.74 | 1 | STURGEON BAY | WI | Door County | Installation | 2021-10-01 |  | #N/A | 0
WP03293 | Panel | 34.6 | 2 | ANTIGO | WI | Langlade County | Installation | 2024-07-25 |  | 19 | O241
WP03315 | Panel | 120 | 2 | KEWAUNEE | WI | Kewaunee County | Installation | 2024-08-05 |  | 32 | NT21
WP03376 | Storage | 11.52 | 1 | ALGOMA | WI | Kewaunee County | Installation | 2024-09-19 |  | 465 | R242
WP03377 | Panel | 4.886 | 1 | WAUSAU | WI | Marathon County | Installation | 2024-09-20 |  | 301 | S242
WP03386 | Panel | 15 | 1 | WOODRUFF | WI | Vilas County | New Application | 2024-10-14 |  | 393 | M241
WP03402 | Panel | 6000 | 4 | HILBERT | WI | Calumet County | Engineering Review | 2024-10-28 |  | #N/A | #N/A
WP03435 | Panel | 5100 | 4 | DENMARK | WI | Brown County | Distribution Study | 2022-03-07 |  | #N/A | #N/A
WP03455 | Panel Storage | 17.452 | 1 | OCONTO | WI | Oconto County | Installation | 2024-12-26 |  | 567 | V241
WP03465 | Panel | 12 | 1 | TOMAHAWK | WI | Lincoln County | New Application | 2025-01-14 |  | 132 | T242
WP03489 | Other | 0 | 2 | ROTHSCHILD | WI | Marathon County | New Application | 2025-01-28 |  | #N/A | 0
WP03508 | Panel Storage | 5000 |  | Crandon | WI | Forest County | New Application | 2025-02-17 |  | #N/A | #N/A
WP03509 | Panel | 6600 | 4 | Crivitz | WI | Marinette County | Engineering Review | 2025-02-14 |  | #N/A | #N/A
WP03521 | Panel | 525 | 3 | Wausau | WI | Marathon County | Installation | 2025-03-11 |  | 238 | V242
WP03526 | Panel Storage | 16 | 1 | DENMARK | WI | Brown County | Installation | 2025-03-14 |  | 640 | N241
WP03543 | Panel Storage | 17.432 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-04-10 |  | 441 | L243
WP03549 | Panel | 60 | 2 | WAUSAU | WI | Marathon County | Installation | 2025-04-15 |  | 210 | I241
WP03562 | Panel | 21.504 | 2 | OCONTO | WI | Oconto County | New Application | 2025-05-06 |  | 259 | O241
WP03568 | Panel Storage | 17.94 | 1 | OCONTO | WI | Oconto County | Installation | 2025-05-09 |  | 259 | O242
WP03573 | Panel Storage | 5 | 1 | WAUSAUKEE | WI | Marinette County | New Application | 2025-04-29 |  | 6 | S242
WP03580 | Panel | 3.84 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-05-21 |  | 220 | N244
WP03600 | Panel | 4875 |  | Stratford | WI | Marathon County | Engineering Review | 2025-05-20 |  | #N/A | #N/A
WP03601 | Panel | 6.96 | 1 | RINGLE | WI | Marathon County | Installation | 2025-06-12 |  | 181 | L241
WP03607 | Panel | 7.68 | 1 | MISHICOT | WI | Manitowoc County | Installation | 2025-06-18 |  | 235 | T241
WP03614 | Panel | 160 | 2 | GREEN BAY | WI | Brown County | Installation | 2025-07-02 |  | 297 | T243
WP03615 | Panel | 200 | 2 | GREEN BAY | WI | Brown County | Installation | 2025-07-02 |  | 131 | V241
WP03621 | Panel | 6.912 | 1 | ALMOND | WI | Portage County | Installation | 2025-07-09 | 2025-07-28 | 398 | S241
WP03623 | Panel | 496 | 3 | Green Bay | WI | Brown County | Engineering Review | 2025-05-14 |  | #N/A | #N/A
WP03624 | Panel Storage | 16.128 | 1 | ONEIDA | WI | Brown County | Installation | 2025-07-10 |  | 215 | D242
WP03628 | Panel | 19.544 | 1 | LAC DU FLAMBEAU | WI | Vilas County | Installation | 2025-07-16 | 2025-10-07 | 393 | M242
WP03631 | Panel Storage | 12 | 1 | WAUSAU | WI | Marathon County | Installation | 2025-07-14 |  | 301 | S241
WP03634 | Panel | 480 | 3 | Green Bay | WI | Brown County | Engineering Review | 2025-07-02 |  | 441 | L244
WP03656 | Panel | 13.68 | 1 | ELLISON BAY | WI | Door County | Installation | 2025-08-11 |  | 309 | S242
WP03666 | Panel | 36 | 2 | STEVENS POINT | WI | Portage County | New Application | 2025-08-15 |  | 252 | T242
WP03667 | Panel | 12.564 | 1 | BRILLION | WI | Calumet County | Installation | 2025-08-15 |  | 396 | W241
WP03671 | Panel | 4.56 | 1 | BAILEYS HARBOR | WI | Door County | Installation | 2025-09-04 |  | 136 | H242
WP03672 | Panel | 5.76 | 1 | WAUSAUKEE | WI | Marinette County | Installation | 2025-08-15 |  | 293 | E241
WP03673 | Panel | 110 | 2 | GREEN BAY | WI | Brown County | Installation | 2025-08-18 |  | 131 | V242
WP03675 | Panel | 20 | 1 | CHILTON | WI |  | Installation | 2025-08-18 |  | #N/A | 0
WP03688 | Panel | 57 | 2 | GREEN BAY | WI | Brown County | Installation | 2025-08-25 |  | 242 | S241
WP03693 | Panel | 10.26 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-09-02 |  | 48 | N241
WP03694 | Panel | 7.6 | 1 | ABRAMS | WI | Oconto County | Installation | 2025-09-03 |  | 569 | L241
WP03699 | Panel Storage | 7.6 | 1 | BAILEYS HARBOR | WI | Door County | Installation | 2025-09-04 |  | 136 | H242
WP03704 | Panel | 9.88 | 1 | OSHKOSH | WI | Winnebago County | Installation | 2025-09-09 |  | 223 | R242
WP03705 | Panel | 3.8 | 1 | WAUPACA | WI | Waupaca County | Installation | 2025-09-09 |  | #N/A | #N/A
WP03708 | Panel | 53.3 | 2 | MARINETTE | WI | Marinette County | Installation | 2025-09-10 |  | 376 | M241
WP03709 | Panel | 15.2 | 1 | MANITOWOC | WI | Manitowoc County | Installation | 2025-08-15 |  | 290 | Z241
WP03712 | Panel Storage | 16.04 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-09-10 |  | 441 | L244
WP03717 | Panel Storage | 11.5 | 1 | MERRILL | WI | Lincoln County | Installation | 2025-09-11 |  | 432 | N242
WP03720 | Panel | 5.7 | 1 | EGG HARBOR | WI | Door County | Installation | 2025-09-12 |  | #N/A | #N/A
WP03722 | Panel | 19 | 1 | SISTER BAY | WI | Door County | Installation | 2025-09-12 |  | 309 | S241
WP03724 | Panel Storage | 16.08 | 1 | ELLISON BAY | WI | Door County | Installation | 2025-09-12 | 2025-11-18 | #N/A | #N/A
WP03726 | Panel | 11.4 | 1 | EDGAR | WI | Marathon County | Installation | 2025-09-15 |  | 82 | L242
WP03727 | Panel Storage | 16 | 1 | NEW FRANKEN | WI | Brown County | Installation | 2025-09-16 |  | 570 | G241
WP03728 | Panel | 4.35 | 1 | WAUSAU | WI | Marathon County | Installation | 2025-09-16 |  | 130 | A241
WP03730 | Panel | 11.4 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-09-17 |  | 48 | N241
WP03732 | Panel | 7.6 | 1 | BAILEYS HARBOR | WI | Door County | Installation | 2025-09-18 |  | 136 | H242
WP03733 | Panel Storage | 18.72 | 1 | WINNECONNE | WI | Winnebago County | Installation | 2025-09-18 |  | 223 | R242
WP03736 | Panel | 12.913 | 1 | EAGLE RIVER | WI | Vilas County | Installation | 2025-09-22 |  | 106 | B241
WP03737 | Panel Storage | 15 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-09-23 |  | 199 | S241
WP03738 | Panel | 9.12 | 1 | OSHKOSH | WI | Winnebago County | Installation | 2025-09-24 |  | 332 | T241
WP03740 | Panel Storage | 13.16 | 1 | OSHKOSH | WI | Winnebago County | Installation | 2025-09-24 |  | 141 | D241
WP03741 | Panel | 5.32 | 1 | BAILEYS HARBOR | WI | Door County | Installation | 2025-09-24 |  | 136 | H242
WP03743 | Panel | 20 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-09-25 |  | 471 | R241
WP03749 | Panel | 10.44 | 1 | ALMOND | WI | Portage County | Installation | 2025-09-25 |  | 420 | R241
WP03751 | Panel | 6.4 | 1 | OSHKOSH | WI | Winnebago County | Installation | 2025-09-26 |  | 141 | D241
WP03753 | Panel | 10.74 | 1 | SCHOFIELD | WI | Marathon County | Installation | 2025-09-29 |  | 181 | L242
WP03754 | Panel | 5.7 | 1 | FISH CREEK | WI | Door County | Installation | 2025-09-29 |  | 136 | H241
WP03758 | Panel | 13.224 | 1 | LUXEMBURG | WI | Kewaunee County | Installation | 2025-10-03 |  | #N/A | 0
WP03759 | Panel Storage | 33.05 | 2 | BOULDER JUNCTION | WI | Vilas County | Pending Approval | 2025-10-03 |  | 285 | M241
WP03760 | Panel | 5.32 | 1 | DE PERE | WI | Brown County | Installation | 2025-10-06 |  | 242 | S241
WP03761 | Panel | 5.32 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-10-06 |  | 428 | V241
WP03763 | Panel | 7.6 | 1 | WAUPACA | WI | Waupaca County | Installation | 2025-10-06 |  | 420 | R241
WP03764 | Panel | 9.28 | 1 | DENMARK | WI | Brown County | Installation | 2025-10-07 |  | 373 | K241
WP03766 | Panel | 4.176 | 1 | SCHOFIELD | WI | Marathon County | Installation | 2025-10-08 |  | 466 | D241
WP03768 | Panel | 6.84 | 1 | ELLISON BAY | WI | Door County | Installation | 2025-10-09 |  | 309 | S242
WP03770 | Panel | 36.86 | 2 | BAILEYS HARBOR | WI | Door County | Installation | 2025-10-14 |  | 136 | H242
WP03771 | Panel Storage | 13.76 | 1 | EPHRAIM | WI | Door County | Installation | 2025-10-14 |  | 309 | S241
WP03772 | Panel | 5.7 | 1 | OSHKOSH | WI | Winnebago County | Installation | 2025-10-14 |  | 141 | D243
WP03773 | Panel | 4.56 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-10-14 | 2025-10-29 | 215 | D241
WP03774 | Panel | 9.6 | 1 | OSHKOSH | WI | Winnebago County | Installation | 2025-10-15 |  | 141 | D242
WP03775 | Panel | 3.04 | 1 | BAILEYS HARBOR | WI | Door County | Installation | 2025-10-15 |  | #N/A | #N/A
WP03776 | Panel | 9.12 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-10-14 |  | 570 | G241
WP03777 | Panel | 11.4 | 1 | EGG HARBOR | WI | Door County | Installation | 2025-10-17 |  | 136 | H241
WP03778 | Panel | 6.84 | 1 | SUAMICO | WI | Brown County | Installation | 2025-10-17 |  | 324 | O241
WP03779 | Panel | 5.12 | 1 | OSHKOSH | WI | Winnebago County | Installation | 2025-10-17 |  | 141 | D241
WP03780 | Panel | 4.8 | 1 | EAGLE RIVER | WI | Vilas County | Installation | 2025-10-20 |  | 106 | B242
WP03781 | Panel Storage | 15 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-10-17 |  | 220 | N243
WP03782 | Panel Storage | 30 | 2 | GREEN BAY | WI | Brown County | Installation | 2025-10-17 |  | 220 | N243
WP03783 | Panel | 6.84 | 1 | OSHKOSH | WI | Winnebago County | Installation | 2025-10-21 |  | 223 | R242
WP03784 | Panel | 3.42 | 1 | ALGOMA | WI | Kewaunee County | Installation | 2025-10-21 |  | 16 | A241
WP03785 | Panel | 7.25 | 1 | SISTER BAY | WI | Door County | Installation | 2025-10-21 |  | 309 | S241
WP03786 | Panel | 8.628 | 1 | PLOVER | WI | Portage County | Installation | 2025-10-22 |  | 3 | O241
WP03787 | Panel | 5.76 | 1 | OSHKOSH | WI | Winnebago County | Installation | 2025-10-22 |  | 273 | V241
WP03788 | Panel | 14.976 | 1 | EGG HARBOR | WI | Door County | Installation | 2025-10-15 |  | 136 | H241
WP03789 | Panel Storage | 19.08 | 1 | BRUSSELLS | WI | Door County | Installation | 2025-10-23 |  | 65 | U242
WP03790 | Panel | 9.048 | 1 | HATLEY | WI | Marathon County | Installation | 2025-10-23 |  | 181 | L241
WP03791 | Panel Storage | 12 | 1 | DENMARK | WI | Brown County | New Application | 2025-10-27 |  | 640 | N241
WP03792 | Panel | 5.568 | 1 | OSHKOSH | WI | Winnebago County | Pending Approval | 2025-10-24 |  | 332 | T242
WP03793 | Panel | 79.8 | 2 | SCHOFIELD | WI | Marathon County | Installation | 2025-10-27 |  | 181 | L243
WP03794 | Panel | 4.392 | 1 | PLOVER | WI | Portage County | Installation | 2025-10-27 |  | 436 | O241
WP03795 | Storage | 16 | 1 | DE PERE | WI | Brown County | Installation | 2025-10-27 |  | #N/A | #N/A
WP03796 | Panel | 2.28 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-10-28 |  | 441 | L244
WP03798 | Panel | 6.282 | 1 | SCHOFIELD | WI | Marathon County | Pending Approval | 2025-10-30 |  | #N/A | #N/A
WP03799 | Panel | 9.12 | 1 | BAILEYS HARBOR | WI | Door County | Installation | 2025-11-03 |  | #N/A | #N/A
WP03800 | Panel | 6.08 | 1 | DE PERE | WI | Brown County | Installation | 2025-11-03 |  | 258 | S241
WP03802 | Panel Storage | 19.08 | 1 | STURGEON BAY | WI | Door County | Installation | 2025-11-04 |  | #N/A | #N/A
WP03803 |  | 0 | 1 | TOMAHAWK | WI | Lincoln County | New Application |  |  | #N/A | #N/A
WP03804 | Panel | 18.846 | 1 | REEDSVILLE | WI | Manitowoc County | Installation | 2025-11-04 |  | 396 | W241
WP03805 | Panel | 2.928 | 1 | STEVENS POINT | WI | Portage County | Installation | 2025-11-04 |  | 252 | T241
WP03806 | Panel Storage | 23 | 2 | MERRILL | WI | Lincoln County | Installation | 2025-11-06 |  | 432 | N241
WP03807 | Panel | 8.36 | 1 | BRUSSELS | WI | Door County | Installation | 2025-11-10 |  | 465 | R241
WP03808 | Panel | 35.72 | 2 | FISH CREEK | WI | Door County | Installation | 2025-11-10 |  | 136 | H242
WP03809 | Panel | 3.04 | 1 | GREEN BAY | WI | Brown County | Installation | 2025-11-06 |  | #N/A | #N/A
WP03810 | Panel | 4.188 | 1 | STEVENS POINT | WI | Portage County | Installation | 2025-11-06 |  | #N/A | 0
WP03811 | Panel | 11.4 | 1 | DE PERE | WI | Brown County | Installation | 2025-11-10 |  | #N/A | #N/A
WP03812 | Panel | 9.772 | 1 | PLOVER | WI | Portage County | Installation | 2025-11-10 |  | 398 | S242
WP03813 | Panel | 9.12 | 1 | BAILEYS HARBOR | WI | Door County | Installation | 2025-11-10 |  | 136 | H242
WP03814 | Panel Storage | 25.56 | 2 | ONEIDA | WI | Brown County | Pending Approval | 2025-11-10 |  | #N/A | #N/A
WP03815 | Panel | 17.3 | 1 | MINOCQUA | WI | Oneida County | New Application | 2025-11-12 |  | 94 | K242
WP03816 | Panel | 9.88 | 1 | NEW FRANKEN | WI | Brown County | Installation | 2025-11-12 |  | 570 | G241
WP03817 | Panel | 3 | 1 | HOBART | WI | Brown County | New Application | 2025-11-12 |  | #N/A | #N/A
WP03818 | Panel | 8.4 | 1 | FLORENCE | WI | Florence County | New Application | 2025-11-12 |  | #N/A | #N/A
WP03819 | Panel | 8.36 | 1 | STURGEON BAY | WI | Door County | Installation | 2025-11-13 |  | #N/A | #N/A
WP03820 | Panel | 4.56 | 1 | OSHKOSH | WI | Winnebago County | Installation | 2025-11-14 |  | #N/A | #N/A
WP03821 | Panel | 7.22 | 1 | GREEN BAY | WI | Brown County | Pending Approval | 2025-11-18 |  | #N/A | #N/A
WP03822 | Panel Storage | 19.948 | 1 | STURGEON BAY | WI | Door County | New Application | 2025-11-20 |  | #N/A | #N/A
WP03823 | Panel | 10.64 | 1 | FORESTVILLE | WI | Door County | Pending Approval | 2025-11-24 |  | 16 | A241
WP03824 | Panel | 6.46 | 1 | GREEN BAY | WI | Brown County | New Application | 2025-11-25 |  | #N/A | #N/A
WP03825 | Panel | 6.08 | 1 | GREEN BAY | WI | Brown County | New Application | 2025-11-25 |  | #N/A | #N/A
WP01930 | Panel | 3.49 | 1 | PLOVER | WI | Portage County | Commissioned | 2023-11-30 | 2024-12-13 | 398 | S242
WP01940 | Panel Storage | 10.47 |  | oneida | WI | Brown County | Commissioned | 2023-08-18 | 2024-06-06 | 215 | D242
WP02030 | Panel | 7.54 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-01-08 | 2024-11-11 | 428 | V242
WP03003 | Panel | 3.465 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2023-11-30 | 2024-05-21 | 441 | L244
WP03004 | Panel | 5.235 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2023-12-01 | 2024-09-06 | 130 | A241
WP03010 | Panel | 9.3 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2023-12-07 | 2024-05-20 | 220 | N244
WP03013 | Panel | 12.3 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2023-12-08 | 2024-07-08 | 441 | L241
WP03019 | Panel | 6 | 1 | WHITELAW | WI | Manitowoc County | Commissioned | 2023-12-12 | 45428 | 180 | V241
WP03025 | Panel | 3.8 | 1 | MARINETTE | WI | Marinette County | Commissioned | 2023-12-27 | 2024-06-27 | 371 | T241
WP03026 | Panel | 18.9 | 1 | REEDSVILLE | WI | Manitowoc County | Commissioned | 2023-12-29 | 2024-08-22 | 180 | V241
WP03036 | Panel | 19.893 | 1 | LUXEMBURG | WI | Kewaunee County | Commissioned | 2024-01-15 | 2025-01-02 | 206 | X242
WP03037 | Panel Storage | 7.6 | 1 | HAZELHURST | WI | Oneida County | Commissioned | 2024-01-11 | 2024-09-23 | 94 | K243
WP03042 | Panel | 4.41 | 1 | SCHOFIELD | WI | Marathon County | Commissioned | 2024-01-23 | 45436 | 472 | W241
WP03045 | Panel | 5.4 | 1 | CASCO | WI | Kewaunee County | Commissioned | 2024-01-26 | 2024-06-10 | 465 | R242
WP03046 | Panel | 5.4 | 1 | BELLEVUE | WI | Brown County | Commissioned | 2024-01-26 | 45497 | 264 | T242
WP03050 | Panel Storage | 13.68 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-01-19 | 2024-08-22 | 301 | S242
WP03062 | Panel | 960 | 3 | Marinette | WI | Marinette County | Commissioned | 2023-12-26 | 2025-06-12 | 376 | M241
WP03063 | Panel | 10.819 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-01-19 | 2024-05-08 | 130 | A241
WP03064 | Panel | 4.64 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-02-08 | 2024-09-26 | 373 | K242
WP03065 | Panel | 15.2 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-02-08 | 2024-06-12 | 436 | O241
WP03067 | Panel | 5.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-02-09 | 2024-10-07 | 242 | S241
WP03070 | Panel | 6 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-02-14 | 2024-07-20 | 570 | G241
WP03073 | Panel | 5.67 | 1 | VALDERS | WI | Manitowoc County | Commissioned | 2024-02-15 | 2024-05-08 | 290 | Z242
WP03078 | Panel | 7.54 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-02-19 | 45488 | 131 | V241
WP03082 | Panel | 3.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-02-21 | 2024-05-21 | 131 | V241
WP03084 | Panel | 3 | 1 | KRONENWETTER | WI | Marathon County | Commissioned | 2024-02-22 | 2024-08-14 | 238 | V242
WP03089 | Panel | 8.448 | 1 | MANITOWOC | WI | Manitowoc County | Commissioned | 2024-02-23 | 2024-07-30 | 212 | P241
WP03090 | Panel | 160 | 2 | PEMBINE | WI | Marinette County | Commissioned | 2024-02-23 | 2024-07-11 | 18 | B241
WP03091 | Panel Storage | 9.28 | 1 | MARINETTE | WI | Marinette County | Commissioned | 2024-02-27 | 2025-05-02 | 376 | M241
WP03093 | Panel | 4.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-02-28 | 2024-05-02 | 37 | T242
WP03094 | Panel | 20 | 1 | BRILLION | WI | Calumet County | Commissioned | 2024-02-28 | 2024-07-12 | 396 | W242
WP03095 | Panel | 9.772 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-02-29 | 2024-08-28 | 472 | W241
WP03097 | Panel | 2.9 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-03-01 | 2024-05-06 | 397 | R241
WP03100 | Panel | 4.64 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-03-05 | 2024-10-08 | 460 | D241
WP03101 | Panel | 8.12 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-03-05 | 2024-07-17 | 205 | D241
WP03104 | Panel | 3.8 | 1 | GREENLEAF | WI | Brown County | Commissioned | 2024-03-07 | 2024-08-14 | 408 | F241
WP03105 | Panel | 11.6 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-08 | 2024-05-06 | 640 | N241
WP03106 | Panel | 16.38 | 1 | TOMAHAWK | WI | Lincoln County | Commissioned | 2024-03-11 | 2024-06-04 | 469 | K241
WP03107 | Panel | 3.9 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-03-11 | 2024-05-20 | 369 | U241
WP03109 | Panel | 16.403 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-03-12 | 2024-06-24 | 130 | A242
WP03110 | Panel | 10.44 | 1 | ASHWAUBENON | WI | Brown County | Commissioned | 2024-03-12 | 2024-05-08 | 220 | N244
WP03111 | Panel | 3.85 | 1 | PULASKI | WI | Brown County | Commissioned | 2024-03-13 | 2024-05-20 | 215 | D242
WP03112 | Panel | 3.48 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-13 | 2024-07-19 | 349 | P241
WP03113 | Panel | 7.56 | 1 | RHINELANDER | WI | Oneida County | Commissioned | 2024-03-11 | 2024-10-29 | 427 | 8241
WP03114 | Panel | 4.886 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-03-14 | 2024-05-29 | 385 | V241
WP03115 | Panel | 6.5 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-14 | 2024-06-18 | 131 | V241
WP03116 | Panel | 2.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-15 | 2024-06-10 | 173 | S241
WP03117 | Panel | 2.9 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-15 | 2024-06-24 | 26 | H241
WP03120 | Panel | 15.96 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-18 | 2024-06-11 | 48 | N241
WP03121 | Panel | 9.28 | 1 | PORTERFIELD | WI | Marinette County | Commissioned | 2024-03-18 | 2024-06-17 | 302 | D241
WP03122 | Panel | 15 | 1 | VALDERS | WI | Manitowoc County | Commissioned | 2024-03-19 | 2024-06-18 | 290 | Z241
WP03125 | Panel | 100 | 2 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-20 | 2024-07-31 | 220 | N241
WP03126 | Panel Storage | 30 | 2 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-20 | 2024-10-01 | 220 | N243
WP03127 | Panel Storage | 30 | 2 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-20 | 2024-10-01 | 220 | N243
WP03128 | Panel Storage | 30 | 2 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-20 | 2024-10-01 | 220 | N243
WP03129 | Panel | 10.15 | 1 | PORTERFIELD | WI | Marinette County | Commissioned | 2024-03-18 | 2024-06-17 | 302 | D241
WP03130 | Panel | 8.12 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-20 | 45525 | 640 | N241
WP03132 | Panel | 15.2 | 1 | ALLOUEZ | WI | Brown County | Commissioned | 2024-03-21 | 2024-07-18 | 428 | V241
WP03134 | Panel | 23.56 | 2 | SISTER BAY | WI | Door County | Commissioned | 2024-03-22 | 2024-05-03 | 309 | S241
WP03136 | Panel | 15.552 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-03-22 | 2024-07-19 | 3 | O242
WP03137 | Panel Storage | 18.12 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-03-25 | 2025-04-23 | 408 | F241
WP03138 | Panel | 160 | 2 | GREEN BAY | WI | Brown County | Commissioned | 2024-03-25 | 2024-10-17 | 220 | N244
WP03139 | Panel | 15.2 | 1 | CHILTON | WI | Calumet County | Commissioned | 2024-03-26 | 2025-02-07 | 405 | A244
WP03141 | Panel | 4.095 | 1 | THREE LAKES | WI | Oneida County | Commissioned | 2024-03-27 | 2024-07-03 | #N/A | 0
WP03143 | Panel | 7 | 1 | ELLISON BAY | WI | Door County | Commissioned | 2024-03-28 | 2024-08-23 | 309 | S242
WP03144 | Panel Storage | 16.128 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-03-29 | 2024-07-16 | 454 | L241
WP03146 | Panel | 9.12 | 1 | HOBART | WI | Brown County | Commissioned | 2024-03-29 | 2024-07-19 | 215 | D241
WP03147 | Panel | 7.6 | 1 | MOUNTAIN | WI | Oconto County | Commissioned | 2024-04-02 | 2024-09-16 | #N/A | 0
WP03148 | Panel | 5.8 | 1 | WOODRUFF | WI | Vilas County | Commissioned | 2024-04-02 | 2024-09-06 | 94 | K241
WP03149 | Panel | 7.6 | 1 | BOULDER JUNCTION | WI | Vilas County | Commissioned | 2024-04-02 | 2024-06-04 | 94 | K241
WP03150 | Panel | 11.52 | 1 | TWO RIVERS | WI | Manitowoc County | Commissioned | 2024-04-02 | 2024-07-31 | 306 | T242
WP03151 | Panel | 5.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-04-02 | 2024-07-19 | 349 | P241
WP03152 | Panel | 6.84 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-04-03 | 2024-07-17 | 258 | S241
WP03153 | Panel | 9.074 | 1 | KRONENWETTER | WI | Marathon County | Commissioned | 2024-04-04 | 2024-06-26 | 238 | V242
WP03154 | Panel | 18.148 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2024-04-04 | 45414 | 124 | R241
WP03155 | Panel | 300 | 3 | TOMAHAWK | WI | Lincoln County | Commissioned | 2024-04-05 | 2024-11-15 | 469 | K241
WP03156 | Panel | 15.2 | 1 | KEWAUNEE | WI | Kewaunee County | Commissioned | 2024-04-05 | 2024-09-20 | 128 | K241
WP03157 | Panel | 4.188 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-04-08 | 2024-05-29 | 441 | L244
WP03159 | Panel | 4.2 | 1 | PORTERFIELD | WI | Marinette County | Commissioned | 2024-04-09 | 2024-06-13 | 302 | D241
WP03160 | Panel | 5 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-04-10 | 2024-06-24 | 454 | L241
WP03161 | Panel | 11.6 | 1 | WAUPACA | WI | Waupaca County | Commissioned | 2024-04-10 | 2024-05-08 | 417 | R241
WP03163 | Panel | 9.45 | 1 | HOBART | WI | Brown County | Commissioned | 2024-04-11 | 2024-08-14 | 215 | D241
WP03165 | Panel | 6.3 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2023-08-20 | 2024-05-22 | 3 | O241
WP03166 | Panel | 3.8 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-04-12 | 2024-08-06 | 454 | L241
WP03167 | Panel | 6.38 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-04-15 | 45488 | 242 | S241
WP03168 | Panel | 9.772 | 1 | ONEIDA WI | WI | Brown County | Commissioned | 2024-04-15 | 2024-05-24 | 215 | D242
WP03169 | Panel | 7.68 | 1 | TOMAHAWK | WI | Lincoln County | Commissioned | 2024-04-15 | 2024-06-07 | 469 | K241
WP03170 | Panel | 6.09 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-04-16 | 2024-08-13 | 262 | Y242
WP03171 | Panel Storage | 6.84 |  | DE PERE | WI | Brown County | Commissioned | 2024-04-16 | 2024-05-06 | 460 | D242
WP03172 | Panel | 4.188 | 1 | LAND O' LAKES | WI | Vilas County | Commissioned | 2024-04-18 | 2024-08-02 | 285 | M241
WP03173 | Panel | 8.448 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-04-19 | 2024-05-29 | 264 | T241
WP03174 | Panel | 8.064 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-04-18 | 2024-08-12 | 52 | S241
WP03175 | Panel Storage | 11.9 | 1 | ALGOMA | WI | Kewaunee County | Commissioned | 2024-04-22 | 2024-06-12 | 16 | A241
WP03177 | Panel | 3.8 | 1 | VALDERS | WI | Manitowoc County | Commissioned | 2024-04-22 | 2024-05-22 | 290 | Z241
WP03178 | Panel | 6.282 | 1 | CHILTON | WI | Calumet County | Commissioned | 2024-04-22 | 2024-07-03 | 405 | A241
WP03179 | Panel | 6 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-04-22 | 2024-08-15 | 173 | S241
WP03180 | Panel | 7.678 | 1 | SAINT GERMAIN | WI | Vilas County | Commissioned | 2024-04-22 | 2024-06-10 | 285 | M241
WP03181 | Panel | 5.22 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-04-23 | 2024-07-26 | 223 | R242
WP03182 | Panel | 21.2 | 2 | HILBERT | WI | Calumet County | Commissioned | 2024-04-23 | 2024-06-20 | 396 | W242
WP03183 | Panel Storage | 2.45 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-04-25 | 2024-08-13 | 242 | S241
WP03184 | Panel | 7.6 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-04-25 | 2024-09-17 | 385 | V241
WP03185 | Panel | 9.423 | 1 | DE PERE | WI | Wood County | Commissioned | 2024-04-26 | 2024-07-11 | 397 | R243
WP03186 | Panel | 19 | 1 | COLEMAN | WI | Marinette County | Commissioned | 2024-04-28 | 2024-09-16 | 259 | O242
WP03187 | Panel | 136.8 | 1 | COLEMAN | WI | Marinette County | Commissioned | 2024-04-27 | 45551 | 259 | O242
WP03188 | Panel | 12.5 | 1 | LUXEMBURG | WI | Kewaunee County | Commissioned | 2024-04-28 | 2024-09-19 | 206 | X242
WP03189 | Panel | 11.6 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-04-29 | 2024-09-06 | 238 | V241
WP03190 | Panel | 2.4 | 1 | RHINELANDER | WI | Oneida County | Commissioned | 2024-04-29 | 2024-09-09 | #N/A | 0
WP03191 | Panel | 3.48 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-04-29 | 45596 | 52 | S241
WP03193 | Panel | 10.47 | 1 | KEWAUNEE | WI | Kewaunee County | Commissioned | 2024-04-30 | 2024-07-10 | 128 | K241
WP03194 | Panel | 10 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2023-01-16 | 2024-09-03 | 332 | T241
WP03195 | Panel | 16.144 | 1 | CHILTON | WI | Calumet County | Commissioned | 2023-10-25 | 2024-07-22 | 405 | A244
WP03196 | Panel Storage | 30 | 2 | HATLEY | WI | Marathon County | Commissioned | 2024-04-30 | 2024-09-20 | 181 | L241
WP03197 | Panel | 7.8 | 1 | GREEN LEAF | WI | Kewaunee County | Commissioned | 2023-05-03 | 2024-11-25 | 408 | F241
WP03198 | Panel | 15.2 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-05-06 | 2024-07-09 | 252 | T241
WP03200 | Panel Storage | 14.537 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-05-06 | 2024-07-23 | 428 | V243
WP03201 | Panel | 9.12 | 1 | THREE LAKES | WI | Oneida County | Commissioned | 2024-05-06 | 2024-06-11 | 340 | L241
WP03202 | Panel Storage | 12.6 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-05-06 | 2024-08-02 | 472 | W241
WP03203 | Panel | 6.38 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-05-03 | 2024-07-19 | 441 | L242
WP03204 | Panel | 3.84 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-05-09 | 2024-09-19 | 141 | D241
WP03205 | Panel | 7.2 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2023-10-31 | 2024-05-28 | 570 | G241
WP03206 | Panel Storage | 16.8 | 1 | MARINETTE | WI | Marinette County | Commissioned | 2024-05-13 | 2024-06-24 | 302 | D241
WP03207 | Panel | 4.886 | 1 | ANTIGO | WI | Langlade County | Commissioned | 2024-05-14 | 2024-07-01 | 28 | S241
WP03208 | Panel | 7.6 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-05-14 | 2024-08-09 | 472 | W241
WP03209 | Panel | 13.262 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-05-15 | 2024-08-02 | 141 | D242
WP03210 | Panel | 5.584 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-05-15 | 2024-08-30 | 397 | R243
WP03211 | Panel | 13.86 | 1 | ANTIGO | WI | Langlade County | Commissioned | 2022-03-21 | 45427 | 28 | S242
WP03212 | Panel | 7.6 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-05-15 | 45540 | 570 | G241
WP03213 | Panel | 8.12 | 1 | GREENLEAF | WI | Brown County | Commissioned | 2024-05-15 | 2024-08-08 | 373 | K242
WP03214 | Panel | 8.448 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-05-16 | 2024-08-22 | 52 | S241
WP03216 | Panel Storage | 4.188 | 1 | DE PERE | WI | Brown County | Commissioned | 2023-11-27 | 2024-07-31 | 242 | S242
WP03217 | Panel | 8.376 | 1 | MERRILL | WI | Lincoln County | Commissioned | 2023-10-30 | 2024-05-31 | 432 | N242
WP03219 | Panel | 6 | 1 | STURGEON BAY | WI | GARDNER | Commissioned | 2023-10-23 | 2024-07-12 | 65 | U242
WP03220 | Panel | 5 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2023-09-21 | 2024-06-05 | 242 | S241
WP03221 | Panel | 4.2 | 1 | DE PERE | WI | Brown County | Commissioned | 2023-11-13 | 2024-06-06 | 454 | L241
WP03223 | Panel | 3 | 1 | KEWAUNEE | WI | Kewaunee County | Commissioned | 2023-11-16 | 2024-05-23 | 40 | S241
WP03224 | Panel | 19.76 | 1 | MARINETTE | WI | Marinette County | Commissioned | 2024-05-22 | 2025-02-04 | 296 | S241
WP03225 | Panel | 7.6 | 1 | WAUPACA | WI | Waupaca County | Commissioned | 2024-05-24 | 2024-06-21 | 417 | R241
WP03226 | Panel | 3.48 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-05-23 | 2024-06-17 | 385 | V242
WP03227 | Panel Storage | 11.282 | 1 | RHINELANDER | WI | Oneida County | Commissioned | 2024-05-24 | 45554 | 427 | 8242
WP03228 | Panel Storage | 34.5 | 2 | BRILLION | WI | Calumet County | Commissioned | 2024-06-04 | 2024-08-06 | 396 | W241
WP03229 | Panel | 7.6 | 1 | MINOCQUA | WI | Oneida County | Commissioned | 2024-05-30 | 2024-09-30 | 94 | K243
WP03230 | Panel | 3.072 | 1 | WHITE LAW | WI | Manitowoc County | Commissioned | 2024-06-04 | 45503 | 180 | V241
WP03231 | Panel | 6.08 | 1 | MERRILL | WI | Lincoln County | Commissioned | 2024-06-05 | 2024-09-09 | 432 | N241
WP03232 | Panel | 2.9 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-06-07 | 45530 | 297 | T241
WP03234 | Panel | 7.68 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-06-07 | 2024-08-05 | 252 | T242
WP03235 | Panel Storage | 11.4 | 1 | DENMARK | WI | Brown County | Commissioned | 2024-06-11 | 2024-09-27 | 373 | K241
WP03236 | Panel | 5.51 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-06-14 | 45548 | 385 | V241
WP03237 | Panel Storage | 20.64 | 2 | STEVENS POINT | WI | Portage County | Commissioned | 2024-06-12 | 2025-01-03 | 385 | V242
WP03238 | Panel | 13.056 | 1 | LAKE TOMAHAWK | WI | Oneida County | Commissioned | 2024-06-17 | 2024-08-22 | #N/A | #N/A
WP03239 | Panel | 7.6 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-06-17 | 2024-07-10 | 130 | A241
WP03240 | Panel | 6.282 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2024-06-19 | 2024-08-07 | 124 | R241
WP03241 | Panel | 3.6 | 1 | TOMAHAWK | WI | Lincoln County | Commissioned | 2024-06-07 | 2024-07-11 | 132 | T243
WP03242 | Panel | 7.6 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-06-19 | 2024-08-23 | 385 | V241
WP03244 | Panel | 7.6 | 1 | RINGLE | WI | Marathon County | Commissioned | 2024-06-24 | 45545 | 181 | L241
WP03245 | Panel | 7.6 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-06-26 | 2024-10-17 | 205 | D241
WP03246 | Panel Storage | 23 | 2 | ELLISON BAY | WI | Door County | Commissioned | 2024-06-26 | 2024-10-29 | 309 | S242
WP03247 | Panel | 7.678 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-06-26 | 2024-09-17 | 52 | S241
WP03248 | Panel | 3.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-06-27 | 2024-08-30 | 215 | D241
WP03250 | Panel | 3.48 | 1 | THREE LAKES | WI | Oneida County | Commissioned | 2024-07-01 | 2024-08-06 | 106 | B241
WP03251 | Panel | 3.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-07-01 | 2024-10-03 | 37 | T242
WP03252 | Panel | 100 | 2 | ALGOMA | WI | Kewaunee County | Commissioned | 2024-07-01 | 45695 | 16 | A241
WP03253 | Panel | 4.06 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-07-03 | 2025-01-09 | 297 | T243
WP03254 | Panel | 9.423 | 1 | SUAMICO | WI | Brown County | Commissioned | 2024-07-08 | 2024-08-27 | 324 | O242
WP03255 | Panel | 6.08 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-07-08 | 2024-08-28 | 428 | V241
WP03256 | Panel | 5.7 | 1 | EGG HARBOR | WI | Door County | Commissioned | 2024-07-09 | 2024-08-21 | 136 | H241
WP03257 | Panel | 19 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-07-09 | 45519 | 297 | T243
WP03258 | Panel | 7.6 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-07-09 | 45579 | 441 | L243
WP03259 | Panel | 4.56 | 1 | PORTERFIELD | WI | Marinette County | Commissioned | 2024-07-09 | 2024-10-17 | 302 | D241
WP03260 | Panel Storage | 12.6 | 1 | MANITOWOC | WI | Manitowoc County | Commissioned | 2024-07-09 | 2024-08-07 | 212 | P241
WP03261 | Panel | 8.832 | 1 | REEDSVILLE | WI | Manitowoc County | Commissioned | 2024-07-09 | 2024-12-23 | 290 | Z241
WP03262 | Panel Storage | 17.28 | 2 | MARATHON | WI | STETTIN | Commissioned | 2024-07-10 | 2024-12-17 | 82 | L241
WP03263 | Panel | 5.12 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-07-10 | 2024-08-16 | 385 | V242
WP03264 | Panel | 7.04 | 1 | PLOVER | WI | Portage County | Commissioned | 2024-07-10 | 2024-09-03 | 436 | O241
WP03265 | Panel | 5.12 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-07-10 | 2024-08-16 | 3 | O242
WP03266 | Panel | 7.04 | 1 | PLOVER | WI | Portage County | Commissioned | 2024-07-11 | 2024-08-16 | 436 | O241
WP03267 | Panel | 3.8 | 1 | TOMAHAWK | WI | Lincoln County | Commissioned | 2024-07-12 | 2024-09-11 | 132 | T242
WP03268 | Panel | 15.2 | 1 | MOSINEE | WI | Marathon County | Commissioned | 2024-07-11 | 2024-10-15 | 188 | N242
WP03269 | Panel | 10.819 | 1 | JUNCTION CITY | WI | Portage County | Commissioned | 2024-07-12 | 2024-09-30 | 385 | V241
WP03270 | Panel | 5.76 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-07-12 | 45576 | 3 | O242
WP03271 | Panel Storage | 17.433 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-07-12 | 2024-09-26 | 332 | T241
WP03273 | Panel | 6.282 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-07-12 | 2024-08-19 | 472 | W241
WP03274 | Panel Storage | 20.22 | 2 | BRUSSELS | WI | Door County | Commissioned | 2024-07-12 | 2024-10-16 | 465 | R241
WP03275 | Panel | 11.4 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-07-16 | 2024-09-19 | 570 | G241
WP03276 | Panel | 4.64 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-07-16 | 2024-10-14 | 223 | R242
WP03277 | Panel Storage | 19.92 | 1 | DE PEPE | WI | Brown County | Commissioned | 2024-07-16 | 45530 | 454 | L241
WP03278 | Panel | 5.12 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-07-16 | 2024-08-14 | 429 | P241
WP03279 | Panel | 8.96 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-07-16 | 2024-09-27 | 252 | T242
WP03280 | Panel | 19.544 | 1 | MOSINEE | WI | Marathon County | Commissioned | 2024-07-16 | 2024-08-26 | 411 | R241
WP03281 | Panel | 4.48 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-07-19 | 2024-08-14 | 472 | W243
WP03283 | Panel | 11.48 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-07-19 | 45541 | 385 | V241
WP03284 | Panel | 9.6 | 1 | STEVENSPOINT | WI | Portage County | Commissioned | 2024-07-19 | 2024-09-30 | 3 | O241
WP03285 | Panel | 7.04 | 1 | SCHOFIELD | WI | Marathon County | Commissioned | 2024-07-19 | 2024-08-19 | 466 | D241
WP03286 | Panel | 8.96 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-07-19 | 2024-10-01 | 250 | U241
WP03287 | Panel | 6.96 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-07-22 | 2024-08-14 | 242 | S241
WP03288 | Panel | 3.84 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-07-21 | 2024-09-27 | 472 | W243
WP03289 | Panel | 5.76 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-07-22 | 2024-09-19 | 474 | A242
WP03290 | Panel | 11 | 1 | NEENAH | WI | Winnebago County | Commissioned | 2024-07-23 | 45544 | 223 | R241
WP03291 | Panel | 8.96 | 1 | PLOVER | WI | Portage County | Commissioned | 2024-07-23 | 2024-09-30 | 3 | O241
WP03292 | Panel | 7.04 | 1 | PLOVER | WI | Portage County | Commissioned | 2024-07-23 | 2024-09-30 | 436 | O241
WP03294 | Panel Storage | 11.5 | 1 | ALGOMA | WI | Kewaunee County | Commissioned | 2024-07-25 | 2024-10-10 | 16 | A241
WP03295 | Panel | 9.6 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-07-25 | 2024-09-11 | 429 | P241
WP03296 | Panel | 4.48 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-07-25 | 2024-09-16 | 429 | P242
WP03297 | Panel | 10 | 1 | EAGLE RIVER | WI | Vilas County | Commissioned | 2024-07-26 | 2024-09-20 | 106 | B242
WP03298 | Panel | 8.376 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2023-06-26 | 2024-07-26 | 141 | D242
WP03299 | Panel | 10.24 | 1 | SCHOFIELD | WI | Marathon County | Commissioned | 2024-07-25 | 2024-08-19 | 238 | V242
WP03300 | Panel | 9.216 | 1 | ROTHSCHILD | WI | Marathon County | Commissioned | 2024-07-26 | 2024-10-09 | 238 | V241
WP03301 | Panel | 14.616 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-07-29 | 2024-10-17 | 29 | N241
WP03302 | Panel Storage | 6.12 | 1 | PESHTIGO | WI | Marinette County | Commissioned | 2024-07-29 | 2024-10-17 | 109 | I242
WP03303 | Panel | 12.16 | 1 | PLOVER | WI | Portage County | Commissioned | 2024-07-29 | 2024-10-01 | 3 | O241
WP03304 | Panel | 9.6 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-07-30 | 2024-09-13 | 252 | T241
WP03305 | Panel | 20 | 1 | MANITOWOC | WI | Manitowoc County | Commissioned | 2024-07-30 | 2024-09-17 | 212 | P241
WP03306 | Panel | 9.5 | 1 | SUAMICO | WI | Brown County | Commissioned | 2024-07-30 | 2024-10-21 | 324 | O242
WP03307 | Panel | 11.4 | 1 | FISH CREEK | WI | Door County | Commissioned | 2024-07-26 | 2024-12-18 | 136 | H242
WP03308 | Panel | 5.76 | 1 | GLEASON | WI | Lincoln County | Commissioned | 2024-07-31 | 2024-10-16 | 432 | N242
WP03309 | Panel | 5.76 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-08-05 | 2024-09-27 | 252 | T242
WP03310 | Panel | 19.76 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-08-05 | 45547 | 242 | S242
WP03311 | Panel | 12.16 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-08-05 | 45565 | 252 | T241
WP03312 | Panel Storage | 11.4 | 1 | SCHOFIELD | WI | Marathon County | Commissioned | 2024-08-05 | 2024-11-25 | #N/A | #N/A
WP03313 | Panel | 7.6 | 1 | CUSTER | WI | Portage County | Commissioned | 2024-08-05 | 2024-11-20 | 252 | T241
WP03314 | Panel | 3.84 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-08-05 | 2024-09-27 | 429 | P241
WP03316 | Panel | 720 | 3 | WAUSAU | WI | Marathon County | Commissioned | 2024-08-07 | 2025-04-08 | 429 | P242
WP03317 | Panel Storage | 9.16 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-08-08 | 2024-08-26 | 570 | G241
WP03318 | Panel | 3.839 | 1 | MISHICOT | WI | Manitowoc County | Commissioned | 2024-08-08 | 45603 | 235 | T241
WP03319 | Panel | 8.376 | 1 | KIEL | WI | Manitowoc County | Commissioned | 2024-08-08 | 2024-08-28 | 290 | Z242
WP03320 | Panel | 6.528 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-08-08 | 2024-12-13 | 297 | T241
WP03321 | Panel | 50 | 2 | MARATHON | WI | Marathon County | Commissioned | 2024-08-08 | 45566 | #N/A | 0
WP03322 | Panel Storage | 20.716 | 1 | LITTLE SUAMICO | WI | Oconto County | Commissioned | 2024-08-12 | 2024-11-19 | 569 | L241
WP03324 | Panel Storage | 15.32 | 1 | LUXEMBERG | WI | Kewaunee County | Commissioned | 2024-08-13 | 2024-09-16 | 126 | K242
WP03325 | Panel | 5 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-08-13 | 45615 | 48 | N241
WP03327 | Panel Storage | 11.5 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-08-15 | 45644 | 252 | T241
WP03328 | Panel | 10.066 | 1 | VALDERS | WI | Manitowoc County | Commissioned | 2024-08-15 | 45638 | 290 | Z242
WP03330 | Panel | 11.4 | 1 | TOMAHAWK | WI | Lincoln County | Commissioned | 2023-11-08 | 2025-03-27 | #N/A | 0
WP03331 | Panel | 1.74 | 1 | SCHOFIELD | WI | Marathon County | Commissioned | 2024-08-17 | 2024-11-15 | 181 | L243
WP03332 | Panel | 5.74 | 1 | NEENAH | WI | Winnebago County | Commissioned | 2023-10-31 | 2024-08-19 | 223 | R241
WP03333 | Panel | 8.448 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2024-08-20 | 2024-11-19 | 124 | R241
WP03334 | Panel | 8.36 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-08-21 | 2024-09-11 | 472 | W241
WP03335 | Panel | 10.368 | 1 | PLOVER | WI | Portage County | Commissioned | 2024-08-26 | 45594 | 436 | O241
WP03338 | Panel | 4.64 | 1 | COLLINS | WI | Manitowoc County | Commissioned | 2024-08-26 | 2025-03-11 | 290 | Z241
WP03339 | Panel Storage | 18.499 | 1 | MOSINEE | WI | Marathon County | Commissioned | 2024-08-26 | 45603 | 188 | N242
WP03340 | Panel Storage | 9.772 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-08-23 | 45586 | 223 | R242
WP03341 | Panel Storage | 15.2 | 1 | PLOVER | WI | Portage County | Commissioned | 2024-08-26 | 2024-10-10 | 3 | O241
WP03342 | Panel Storage | 35.066 | 2 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-08-24 | 2024-10-21 | 29 | N241
WP03343 | Panel | 23.1 | 1 | CRANDON | WI | Forest County | Commissioned | 2023-05-02 | 45524 | 232 | A241
WP03344 | Panel | 75 | 1 | PLOVER | WI | Portage County | Commissioned | 2023-06-05 | 45436 | 436 | O241
WP03347 | Panel | 7.6 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-08-30 | 45568 | 252 | T241
WP03348 | Panel Storage | 19.08 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2024-08-30 | 2024-12-03 | 124 | R241
WP03349 | Panel | 4.56 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2024-08-30 | 45559 | #N/A | 0
WP03350 | Panel | 6.84 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-08-30 | 2025-05-23 | 131 | V241
WP03351 | Panel | 3.8 | 1 | ARGONNE | WI | Forest County | Commissioned | 2024-09-05 | 2024-11-12 | 232 | A241
WP03352 | Panel | 3.8 | 1 | CUSTER | WI | Portage County | Commissioned | 2024-09-06 | 45594 | 252 | T241
WP03353 | Panel | 3.19 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-09-06 | 2024-11-07 | 385 | V241
WP03354 | Panel | 6.98 | 1 | MISHICOT | WI | Manitowoc County | Commissioned | 2024-09-06 | 2024-11-07 | 235 | T241
WP03355 | Panel | 3.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-09-06 | 2024-11-25 | 173 | S241
WP03356 | Panel | 10.121 | 1 | WAUPACA | WI | Waupaca County | Commissioned | 2024-09-06 | 2024-10-23 | 417 | R241
WP03357 | Panel | 5.32 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-09-06 | 2024-11-12 | 474 | A242
WP03358 | Panel | 7.68 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-09-06 | 2024-10-17 | 29 | N241
WP03359 | Panel | 19.544 | 1 | MERRILL | WI | Lincoln County | Commissioned | 2024-09-11 | 2024-10-18 | 432 | N243
WP03360 | Panel | 11.168 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-09-11 | 2025-05-30 | 82 | L241
WP03361 | Panel | 4.188 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-09-11 | 2024-11-08 | 454 | L241
WP03362 | Panel | 6.282 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2024-09-16 | 2024-11-18 | 124 | R241
WP03363 | Panel | 7.6 | 1 | MERRILL | WI | Lincoln County | Commissioned | 2023-10-05 | 2025-06-18 | 432 | N241
WP03364 | Panel | 3.8 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-09-18 | 2025-01-06 | 250 | U241
WP03365 | Panel | 3.48 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-09-16 | 2024-11-07 | 385 | V241
WP03366 | Panel | 10.188 | 1 | JUNCTION CITY | WI | Portage County | Commissioned | 2024-09-23 | 2024-11-15 | 385 | V241
WP03367 | Panel | 3.839 | 1 | ANTIGO | WI | Langlade County | Commissioned | 2024-09-23 | 2024-12-18 | 19 | O241
WP03368 | Panel | 6.98 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-09-20 | 2024-10-11 | 215 | D242
WP03369 | Panel | 12.672 | 1 | GREENLEAF | WI | Brown County | Commissioned | 2024-09-20 | 2025-01-27 | 396 | W241
WP03370 | Panel | 7.54 | 1 | HILBERT | WI | Calumet County | Commissioned | 2024-09-20 | 2024-11-11 | 405 | A244
WP03371 | Panel | 19.544 | 1 | HATLEY | WI | Marathon County | Commissioned | 2024-09-20 | 2025-04-16 | 181 | L241
WP03372 | Panel | 5.235 | 1 | MINOCQUA | WI | Oneida County | Commissioned | 2024-09-20 | 2024-12-02 | #N/A | 0
WP03373 | Panel | 5 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-09-20 | 45768 | 454 | L241
WP03374 | Panel | 7.678 | 1 | JUNCTION CITY | WI | Taylor County | Commissioned | 2024-09-24 | 2024-12-09 | #N/A | 0
WP03375 | Panel | 3.8 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-09-26 | 45629 | 454 | L241
WP03378 | Panel | 5.32 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-09-27 | 2024-11-07 | 385 | V242
WP03379 | Panel | 8.36 | 1 | HOWARD | WI | Brown County | Commissioned | 2024-09-30 | 2024-11-06 | 215 | D241
WP03380 | Panel | 17.3 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-10-01 | 2024-12-12 | 173 | S241
WP03382 | Panel Storage | 16.631 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-10-03 | 45635 | 474 | A242
WP03383 | Panel | 19.544 | 1 | EDGAR | WI | Marathon County | Commissioned | 2024-10-03 | 2025-05-06 | 82 | L241
WP03384 | Panel | 20.9 | 2 | TOMAHAWK | WI | Lincoln County | Commissioned | 2024-10-04 | 2025-01-09 | 132 | T243
WP03385 | Panel | 11.4 | 1 | MERRILL | WI | Lincoln County | Commissioned | 2024-10-04 | 45681 | 432 | N242
WP03387 | Panel | 3.49 | 1 | MOSINEE | WI | Marathon County | Commissioned | 2024-10-08 | 45631 | 238 | V242
WP03388 | Panel Storage | 23 | 2 | BRUSSELS | WI | Door County | Commissioned | 2024-10-08 | 45867 | 65 | U242
WP03389 | Panel | 8.36 | 1 | CRANDON | WI | Forest County | Commissioned | 2024-10-09 | 2024-11-22 | 232 | A241
WP03390 | Panel | 126 | 2 | Oshkosh | WI | Winnebago County | Commissioned | 2024-10-11 | 2025-04-11 | 332 | T241
WP03391 | Storage | 30.72 | 2 | LUXEMBURG | WI | Kewaunee County | Commissioned | 45576 | 45964 | 206 | X242
WP03392 | Panel | 2.9 | 1 | SCHOFIELD | WI | Marathon County | Commissioned | 2024-10-14 | 45723 | 181 | L241
WP03394 | Panel | 13.68 | 1 | LAKE TOMAHAWK | WI | Oneida County | Commissioned | 2024-10-20 | 45596 | 94 | K243
WP03395 | Panel | 18.846 | 1 | EGG HARBOR | WI | Door County | Commissioned | 45585 | 45824 | 136 | H241
WP03396 | Panel | 5.32 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-10-22 | 2025-06-18 | 429 | P242
WP03397 | Panel Storage | 7.6 | 1 | PLOVER | WI | Portage County | Commissioned | 2024-10-28 | 45617 | 3 | O241
WP03398 | Panel | 2.9 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-10-28 | 2024-11-22 | 385 | V242
WP03399 | Panel Storage | 11.5 | 1 | HATLEY | WI | Marathon County | Commissioned | 2024-10-28 | 2025-10-04 | 181 | L241
WP03400 | Panel | 4.64 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-10-30 | 45685 | 472 | W241
WP03401 | Panel | 12.16 | 1 | SUMMIT LAKE | WI | Langlade County | Commissioned | 2024-10-30 | 2024-12-30 | 328 | L241
WP03403 | Panel | 7.22 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-10-30 | 2025-02-25 | 428 | V241
WP03404 | Panel | 2.9 | 1 | ANTIGO | WI | Langlade County | Commissioned | 2024-10-30 | 2025-03-10 | 28 | S242
WP03405 | Panel | 15.2 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-10-30 | 2024-12-30 | 223 | R242
WP03406 | Panel | 15.36 | 1 | DENMARK | WI | Brown County | Commissioned | 2024-10-30 | 2025-05-23 | 373 | K242
WP03407 | Panel | 12.564 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-11-01 | 2024-12-06 | 173 | S241
WP03408 | Panel | 8.36 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-11-03 | 2024-12-17 | 474 | A241
WP03409 | Panel | 11.78 | 1 | CRIVITZ | WI | Marinette County | Commissioned | 2024-11-05 | 2025-01-14 | 341 | R241
WP03410 | Panel | 5 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-11-04 | 2025-01-23 | 454 | L241
WP03411 | Panel Storage | 12.9 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-11-05 | 2025-05-05 | 301 | S241
WP03412 | Panel | 7.6 | 1 | GREENLEAF | WI | Brown County | Commissioned | 2024-11-05 | 2025-04-10 | 408 | F241
WP03413 | Panel | 7.68 | 1 | EGG HARBOR | WI | Door County | Commissioned | 2024-11-05 | 2024-12-17 | 136 | H241
WP03414 | Panel | 7.98 | 1 | DE PERE | WI | Brown County | Commissioned | 2024-11-06 | 2025-01-16 | 460 | D241
WP03415 | Panel | 17.256 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-11-11 | 2025-01-31 | 297 | T242
WP03416 | Panel | 15.84 | 1 | LAC DU FLAMBEAU | WI | Vilas County | Commissioned | 2024-11-12 | 2024-12-30 | 393 | M242
WP03417 | Panel | 15.84 | 1 | LAC DU FLAMBEAU | WI | Vilas County | Commissioned | 2024-11-12 | 2024-12-30 | 393 | M242
WP03418 | Panel | 15.84 | 1 | LAC DU FLAMBEAU | WI | Vilas County | Commissioned | 2024-11-12 | 2024-12-30 | 393 | M242
WP03419 | Panel | 15.84 | 1 | LAC DU FLAMBEAU | WI | Vilas County | Commissioned | 2024-11-12 | 2024-12-30 | 393 | M242
WP03420 | Panel | 13.2 | 1 | LAC DU FLAMBEAU | WI | Vilas County | Commissioned | 2024-11-12 | 2024-12-30 | 393 | M242
WP03421 | Panel | 20.64 | 2 | LAC DU FLAMBEAU | WI | Vilas County | Commissioned | 2024-11-12 | 2024-12-30 | 393 | M242
WP03422 | Panel Storage | 17.452 | 1 | MARATHON | WI | Marathon County | Commissioned | 2024-11-12 | 2025-02-20 | 82 | L241
WP03423 | Panel | 7.7 | 1 | RHINELANDER | WI | Oneida County | Commissioned | 2024-11-12 | 2025-02-10 | 427 | 8241
WP03424 | Panel Storage | 25.62 | 2 | DENMARK | WI | Brown County | Commissioned | 2024-11-15 | 2025-01-27 | 373 | K241
WP03425 | Panel Storage | 15.68 | 1 | PESHTIGO | WI | Marinette County | Commissioned | 2024-11-17 | 2025-05-22 | 259 | O242
WP03426 | Panel | 5.8 | 1 | ALMOND | WI | Portage County | Commissioned | 2024-11-19 | 2025-03-10 | 398 | S241
WP03427 | Panel | 7.678 | 1 | ARGONNE | WI | Forest County | Commissioned | 2024-11-20 | 2025-06-16 | 232 | A241
WP03428 | Panel Storage | 21.19 | 2 | ONEIDA | WI | Brown County | Commissioned | 2024-11-22 | 2025-06-11 | 215 | D242
WP03429 | Panel | 19.544 | 1 | MOSINEE | WI | Marathon County | Commissioned | 2024-11-22 | 2025-02-07 | 238 | V242
WP03430 | Panel | 4.56 | 1 | MANITOWOC | WI | Manitowoc County | Commissioned | 2024-11-26 | 2025-03-03 | 306 | T242
WP03431 | Panel Storage | 13.38 | 1 | THREE LAKES | WI | Oneida County | Commissioned | 2024-11-26 | 2024-12-31 | 106 | B241
WP03432 | Panel | 8.064 | 1 | MERRILL | WI | Lincoln County | Commissioned | 2024-11-26 | 2025-03-03 | 432 | N243
WP03433 | Panel Storage | 11.5 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-12-01 | 2025-04-22 | 52 | S241
WP03434 | Panel | 1375 | 4 | OSHKOSH | WI | Winnebago County | Commissioned | 2023-12-11 | 2025-01-01 | 29 | N242
WP03436 | Panel | 5.04 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2024-12-02 | 2025-05-05 | 385 | V242
WP03438 | Panel | 4.473 | 1 | LARSEN | WI | Winnebago County | Commissioned | 2024-12-06 | 2025-01-29 | 223 | R242
WP03439 | Panel | 4.06 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2024-12-06 | 2025-02-28 | 136 | H242
WP03440 | Panel | 10.26 | 1 | SCHOFIELD | WI | Marathon County | Commissioned | 2024-12-06 | 2025-08-01 | 181 | L241
WP03441 | Panel | 3.8 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-12-11 | 2025-04-28 | 332 | T242
WP03442 | Panel | 5 | 1 | HOBART | WI | Brown County | Commissioned | 2024-12-11 | 2025-05-01 | 215 | D242
WP03443 | Panel | 7.6 | 1 | MERRILL | WI | Lincoln County | Commissioned | 2024-12-16 | 2024-12-23 | 432 | N242
WP03444 | Panel | 6.09 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-12-16 | 2025-03-18 | 210 | I241
WP03445 | Panel | 19 | 1 | BRUSSELLS | WI | Door County | Commissioned | 2024-12-16 | 2025-02-24 | 465 | R241
WP03446 | Panel | 3.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-12-16 | 2025-01-22 | 131 | V242
WP03446 | Panel | 1.9 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-12-12 | 2025-01-22 | 131 | V242
WP03447 | Panel | 4.188 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2024-12-16 | 2025-01-27 | 124 | R241
WP03449 | Panel Storage | 7.6 | 1 | ALMOND | WI | Portage County | Commissioned | 2024-12-13 | 2025-01-23 | 398 | S241
WP03450 | Panel | 7.6 | 1 | RHINELANDER | WI | Oneida County | Commissioned | 2024-12-21 | 2025-05-19 | 427 | 8242
WP03451 | Panel | 8.74 | 1 | SISTER BAY | WI | Door County | Commissioned | 2024-12-21 | 2025-02-26 | 309 | S242
WP03452 | Panel | 3.04 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2024-12-23 | 2025-04-28 | 332 | T241
WP03454 | Panel Storage | 11.5 | 1 | LAKEWOOD | WI | Oconto County | Commissioned | 2024-12-23 | 2025-08-21 | 240 | N242
WP03456 | Panel | 9.54 | 1 | CRIVITZ | WI | Marinette County | Commissioned | 2024-12-26 | 2025-02-21 | 341 | R241
WP03457 | Panel | 9.12 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2024-12-27 | 2025-02-13 | 472 | W241
WP03458 | Panel | 5.32 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2024-12-27 | 2025-04-24 | 220 | N242
WP03459 | Panel | 5.22 | 1 | EPHRAIM | WI | Door County | Commissioned | 2025-01-09 | 2025-06-17 | 309 | S241
WP03460 | Panel | 3.84 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-08 | 2025-02-19 | 141 | D241
WP03461 | Panel | 13.056 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-01-09 | 2025-02-25 | 173 | S241
WP03462 | Panel Storage | 18.8 | 1 | WHITELAW | WI | Manitowoc County | Commissioned | 2025-01-07 | 2025-04-04 | 306 | T241
WP03463 | Panel | 50 | 2 | GREEN BAY | WI | Brown County | Commissioned | 2025-01-13 | 2025-01-31 | 37 | T241
WP03464 | Panel | 11.4 | 1 | ALGOMA | WI | Kewaunee County | Commissioned | 2025-01-10 | 2025-03-07 | 16 | A241
WP03466 | Panel | 4.188 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-01-13 | 2025-06-02 | 472 | W243
WP03467 | Panel | 5.12 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-14 | 2025-02-19 | 332 | T241
WP03468 | Panel | 9.6 | 1 | HOBART | WI | Brown County | Commissioned | 2025-01-16 | 2025-05-14 | 215 | D241
WP03469 | Panel | 9.6 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-16 | 2025-02-20 | 141 | D241
WP03470 | Panel | 6.08 | 1 | DENMARK | WI | Brown County | Commissioned | 2025-01-16 | 2025-05-30 | 128 | K242
WP03471 | Panel | 4.48 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-16 | 2025-02-11 | 141 | D242
WP03472 | Panel | 3.84 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-16 | 2025-03-28 | 141 | D242
WP03473 | Panel | 7.68 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-16 | 2025-02-20 | 141 | D241
WP03474 | Panel | 6.4 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-16 | 2025-02-11 | 332 | T241
WP03475 | Panel | 7.68 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-17 | 2025-02-11 | 474 | A241
WP03476 | Panel | 6.4 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-17 | 2025-03-28 | 141 | D242
WP03477 | Panel | 6.4 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-22 | 2025-06-17 | 474 | A241
WP03478 | Panel | 5.22 | 1 | TOMAHAWK | WI | Lincoln County | Commissioned | 2025-01-22 | 2025-05-13 | 132 | T242
WP03479 | Panel | 7.04 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-22 | 2025-02-24 | 141 | D241
WP03480 | Panel | 3.84 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-22 | 2025-02-19 | 273 | V241
WP03481 | Panel | 4.48 | 1 | OSKOSH | WI | Winnebago County | Commissioned | 2025-01-22 | 2025-02-11 | 273 | V242
WP03482 | Panel | 16 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-22 | 2025-03-17 | 141 | D242
WP03484 | Panel Storage | 54.3 | 2 | GREENLEAF | WI | Brown County | Commissioned | 2025-01-27 | 2025-05-06 | 373 | K242
WP03485 | Panel | 153.52 | 2 | LUXEMBURG | WI | Kewaunee County | Commissioned | 2025-01-23 | 2025-10-23 | 465 | R241
WP03486 | Panel | 4.4 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-01-27 | 2025-03-26 | 640 | N241
WP03487 | Panel Storage | 11.5 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2025-01-27 | 2025-06-05 | #N/A | 0
WP03488 | Panel | 5.12 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-28 | 2025-03-17 | 141 | D243
WP03490 | Panel | 8.725 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-01-29 | 2025-03-18 | 238 | V242
WP03491 | Panel | 6.08 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2025-01-29 | 2025-04-24 | 309 | S242
WP03492 | Panel | 4.48 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-01-22 | 2025-02-20 | 141 | D241
WP03493 | Panel | 60 | 2 | TOMAHAWK | WI | Lincoln County | Commissioned | 2023-01-19 | 2025-05-08 | 132 | T243
WP03494 | Panel | 26.125 | 2 | GREEN BAY | WI | Brown County | Commissioned | 2025-02-05 | 2025-03-25 | 131 | V242
WP03496 | Panel | 6.67 | 1 | LARSEN | WI | Winnebago County | Commissioned | 2025-02-11 | 2025-04-16 | 223 | R242
WP03497 | Panel | 5.752 | 1 | PLOVER | WI | Portage County | Commissioned | 2025-02-12 | 2025-03-31 | 3 | O241
WP03498 | Panel | 2.792 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2025-02-13 | 2025-04-24 | 136 | H242
WP03499 | Panel Storage | 12.24 | 1 | DE PERE | WI | Brown County | Commissioned | 2025-02-14 | 2025-03-18 | 454 | L241
WP03500 | Panel | 9.12 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2025-02-17 | 2025-05-02 | 136 | H242
WP03501 | Panel | 6.46 | 1 | MARINETTE | WI | Marinette County | Commissioned | 2025-02-17 | 2025-04-14 | 376 | M241
WP03502 | Panel | 2.9 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-02-17 | 2025-05-16 | 130 | A242
WP03503 | Panel | 6.528 | 1 | SUAMICO | WI | Brown County | Commissioned | 2025-02-19 | 2025-03-18 | 37 | T242
WP03504 | Panel | 6.912 | 1 | SUAMICO | WI | Brown County | Commissioned | 2025-02-20 | 2025-03-20 | 324 | O241
WP03505 | Panel | 11.4 | 1 | FISH CREEK | WI | Door County | Commissioned | 2025-02-20 | 2025-06-05 | 136 | H241
WP03506 | Panel | 89.28 | 2 | COLEMAN | WI | Marinette County | Commissioned | 2025-02-20 | 2025-06-27 | 568 | D241
WP03507 | Storage | 11.5 | 1 | SUAMICO | WI | Brown County | Commissioned | 2025-02-20 | 2025-04-28 | 324 | O242
WP03510 | Panel | 13.611 | 1 | SUAMICO | WI | Brown County | Commissioned | 2025-02-24 | 2025-05-14 | 324 | O241
WP03511 | Panel | 6.84 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-02-25 | 2025-07-11 | 223 | R242
WP03512 | Panel | 7.296 | 1 | BRILLION | WI | Calumet County | Commissioned | 2025-02-25 | 2025-04-14 | 396 | W241
WP03513 | Panel | 7.6 | 1 | WAUPACA | WI | Waupaca County | Commissioned | 2025-02-27 | 2025-07-14 | 417 | R241
WP03514 | Panel | 22.8 | 2 | WAUSAU | WI | Marathon County | Commissioned | 2025-03-03 | 2025-08-12 | 210 | I241
WP03515 | Panel | 10.073 | 1 | MERRILL | WI | Lincoln County | Commissioned | 2025-03-04 | 2025-05-09 | 432 | N242
WP03516 | Panel | 18.432 | 1 | GLEASON | WI | Lincoln County | Commissioned | 2025-03-04 | 2025-06-02 | 432 | N242
WP03517 | Panel | 6.84 | 1 | MISHICOT | WI | Manitowoc County | Commissioned | 2025-03-04 | 2025-04-09 | 373 | K241
WP03518 | Panel | 11.4 | 1 | IRMA | WI | Lincoln County | Commissioned | 2025-03-06 | 2025-09-05 | 132 | T242
WP03519 | Panel | 5.32 | 1 | DE PERE | WI | Brown County | Commissioned | 2025-03-07 | 2025-04-28 | 408 | F241
WP03520 | Panel | 19.995 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-03-10 | 2025-06-03 | 210 | I241
WP03522 | Panel | 8.36 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-03-12 | 45799 | 215 | D241
WP03523 | Panel | 14.309 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-03-13 | 2025-05-12 | 223 | R241
WP03524 | Panel | 27.222 | 2 | RINGLE | WI | Marathon County | Commissioned | 2025-03-14 | 2025-11-24 | 181 | L241
WP03525 | Panel | 31.825 | 2 | RINGLE | WI | Marathon County | Commissioned | 2025-03-14 | 2025-10-09 | 181 | L241
WP03527 | Panel | 14.82 | 1 | DE PERE | WI | Brown County | Commissioned | 2025-03-17 | 2025-06-09 | 242 | S242
WP03528 | Panel | 7.25 | 1 | PLOVER | WI | Portage County | Commissioned | 2025-03-18 | 2025-04-17 | 436 | O241
WP03529 | Panel | 80 | 2 | STEVENS POINT | WI | Portage County | Commissioned | 2025-03-19 | 2025-10-27 | 3 | O242
WP03530 | Panel | 4.35 | 1 | ARBOR VITAE | WI | Vilas County | Commissioned | 2025-03-19 | 2025-05-22 | 94 | K241
WP03531 | Panel | 200 | 2 | GREEN BAY | WI | Brown County | Commissioned | 2025-03-19 | 2025-05-19 | 26 | H241
WP03532 | Panel | 9.984 | 1 | WAUSAUKEE | WI | Marinette County | Commissioned | 2025-03-21 | 2025-06-04 | 293 | E241
WP03533 | Panel | 17.48 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-03-25 | 2025-08-26 | 220 | N244
WP03534 | Panel | 7.6 | 1 | ELLISON BAY | WI | Door County | Commissioned | 2025-03-25 | 2025-04-23 | 309 | S242
WP03535 | Panel | 62.5 | 2 | DE PERE | WI | Brown County | Commissioned | 2025-03-25 | 2025-07-22 | 258 | S241
WP03536 | Panel Storage | 19.1 | 1 | ARBOR VITAE | WI | Vilas County | Commissioned | 2025-03-26 | 2025-11-24 | 94 | K241
WP03537 | Panel Storage | 11.5 | 1 | LUXEMBURG | WI | Kewaunee County | Commissioned | 2025-03-27 | 2025-08-26 | 126 | K242
WP03538 | Panel | 8.064 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-03-28 | 2025-04-25 | 297 | T241
WP03539 | Panel | 12.288 | 1 | MARATHON | WI | Marathon County | Commissioned | 2025-03-28 | 2025-05-16 | 82 | L241
WP03540 | Panel | 11.4 | 1 | LARSEN | WI | Winnebago County | Commissioned | 2025-04-08 | 2025-06-27 | 223 | R242
WP03541 | Panel | 5.752 | 1 | TOMAHAWK | WI | Lincoln County | Commissioned | 2025-04-09 | 2025-08-14 | 132 | T243
WP03542 | Panel | 113.05 | 2 | STURGEON BAY | WI | Door County | Commissioned | 2025-04-10 | 2025-07-16 | 16 | A241
WP03544 | Panel | 13.8 | 1 | OCONTO FALLS | WI | Oconto County | Commissioned | 2025-04-11 | 2025-05-28 | 569 | L241
WP03545 | Panel | 5.376 | 1 | REEDSVILLE | WI | Manitowoc County | Commissioned | 2025-04-30 | 2025-06-30 | 290 | Z241
WP03546 | Panel | 13.824 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-04-14 | 2025-06-11 | 242 | S241
WP03547 | Panel | 1.9 | 1 | MANITOWOC | WI | Manitowoc County | Commissioned | 2025-04-14 | 2025-06-03 | 212 | P241
WP03548 | Panel | 5.32 | 1 | HOWARD | WI | Brown County | Commissioned | 2025-04-15 | 2025-10-29 | 5 | W241
WP03550 | Panel | 9.216 | 1 | PLOVER | WI | Portage County | Commissioned | 2025-04-17 | 2025-05-27 | 262 | Y242
WP03551 | Panel | 3.48 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-04-21 | 2025-08-27 | 273 | V242
WP03552 | Panel | 13.68 | 1 | DENMARK | WI | Brown County | Commissioned | 2025-04-21 | 2025-05-28 | 373 | K242
WP03553 | Panel | 9.984 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-04-22 | 2025-06-03 | 223 | R241
WP03554 | Panel | 6.631 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-04-25 | 2025-06-09 | 441 | L243
WP03555 | Panel | 8.36 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-05-01 | 2025-09-15 | 570 | G241
WP03556 | Panel | 3.84 | 1 | ABRAMS | WI | Oconto County | Commissioned | 2025-05-01 | 2025-06-17 | 569 | L241
WP03557 | Panel | 5.756 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-05-01 | 2025-06-30 | 252 | T241
WP03558 | Panel | 3.48 | 1 | HOWARD | WI | Brown County | Commissioned | 2025-05-02 | 2025-07-21 | 5 | W241
WP03559 | Panel | 9.048 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-05-02 | 2025-09-05 | 472 | W243
WP03561 | Panel | 2.792 | 1 | WAUPACA | WI | Waupaca County | Commissioned | 2025-05-01 | 2025-08-12 | 420 | R241
WP03563 | Panel | 7.6 | 1 | CRANDON | WI | Forest County | Commissioned | 2025-05-08 | 2025-07-09 | 350 | N242
WP03564 | Panel | 15.2 | 1 | KEWAUNEE | WI | Kewaunee County | Commissioned | 2025-04-11 | 2025-05-27 | 128 | K242
WP03565 | Panel | 6.528 | 1 | TOMAHAWK | WI | Oneida County | Commissioned | 2025-05-09 | 2025-08-21 | 94 | K243
WP03566 | Panel | 21.12 | 2 | MANITOWOC | WI | Manitowoc County | Commissioned | 2025-01-29 | 2025-06-17 | 212 | P241
WP03567 | Panel | 7.6 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-05-14 | 2025-06-27 | 385 | V242
WP03569 | Panel | 16 | 1 | OCONTO | WI | Oconto County | Commissioned | 2025-05-21 | 2025-06-10 | 567 | V241
WP03570 | Panel | 10.121 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-04-01 | 2025-05-08 | 223 | R241
WP03571 | Panel | 2.9 | 1 | WAUPACA | WI | Waupaca County | Commissioned | 2025-04-03 | 2025-07-17 | 420 | R241
WP03572 | Panel | 7.6 | 1 | WAUPACA | WI | Waupaca County | Commissioned | 2025-04-04 | 2025-06-06 | 417 | R241
WP03574 | Panel Storage | 11.5 | 1 | SOBIESKI | WI | Oconto County | Commissioned | 2025-01-09 | 2025-04-23 | 569 | L241
WP03575 | Panel | 720 | 3 | De Pere | WI | Brown County | Commissioned | 2025-04-24 | 2025-09-30 | #N/A | 0
WP03576 | Panel | 5 | 1 | ALMOND | WI | Portage County | Commissioned | 2025-05-16 | 2025-06-25 | 398 | S241
WP03577 | Panel | 9.984 | 1 | CRANDON | WI | Forest County | Commissioned | 2025-05-16 | 2025-07-16 | 232 | A241
WP03578 | Panel | 7.6 | 1 | BELLEVUE | WI | Brown County | Commissioned | 2025-05-16 | 2025-08-20 | 264 | T242
WP03579 | Panel | 30.4 | 2 | STEVENS POINT | WI | Portage County | Commissioned | 2025-05-16 | 2025-07-18 | 3 | O242
WP03581 | Panel Storage | 24 | 2 | DENMARK | WI | Brown County | Commissioned | 2025-05-27 | 2025-08-19 | 373 | K242
WP03582 | Panel | 22.8 | 2 | LUXEMBURG | WI | Kewaunee County | Commissioned | 2025-05-27 | 2025-07-01 | 206 | X241
WP03583 | Panel | 6.912 | 1 | KEWAUNEE | WI | Kewaunee County | Commissioned | 2025-05-27 | 2025-09-04 | 128 | K242
WP03584 | Panel | 10 | 1 | HOBART | WI | Brown County | Commissioned | 2025-05-28 | 2025-08-20 | 215 | D242
WP03585 | Panel Storage | 27.6 | 2 | SCHOFIELD | WI | Marathon County | Commissioned | 2025-05-28 | 2025-06-30 | 181 | L241
WP03586 | Panel | 14.658 | 1 | ARBOR VITAE | WI | Vilas County | Commissioned | 2025-05-30 | 2025-09-10 | 94 | K241
WP03587 | Panel | 7.68 | 1 | TOMAHAWK | WI | Lincoln County | Commissioned | 2025-06-03 | 2025-08-08 | 132 | T242
WP03588 | Panel | 9.3 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-06-03 | 2025-09-08 | 385 | V241
WP03589 | Panel | 5.15 | 1 | TOWNSEND | WI | Oconto County | Commissioned | 2025-06-04 | 2025-07-09 | 240 | N242
WP03590 | Panel | 3.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-06-06 | 2025-06-30 | 131 | V242
WP03591 | Panel | 6.84 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-06-06 | 2025-06-30 | 131 | V241
WP03593 | Panel | 15.2 | 1 | BUTTE DES MORTS | WI | Winnebago County | Commissioned | 2025-06-10 | 2025-08-08 | 223 | R242
WP03594 | Panel | 12.6 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-06-10 | 2025-09-15 | 324 | O242
WP03595 | Panel Storage | 11.5 | 1 | WAUPACA | WI | Waupaca County | Commissioned | 2025-06-10 | 2025-08-28 | 420 | R241
WP03596 | Panel | 6.282 | 1 | IRMA | WI | Lincoln County | Commissioned | 2025-06-11 | 2025-08-08 | 469 | K241
WP03597 | Panel Storage | 6.08 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2025-06-11 | 2025-07-23 | 124 | R241
WP03598 | Panel Storage | 11.4 | 1 | ABRAMS | WI | Oconto County | Commissioned | 2025-06-11 | 2025-08-11 | #N/A | 0
WP03599 | Panel | 10 | 1 | ROTHSCHILD | WI | Marathon County | Commissioned | 2025-06-11 | 2025-08-29 | 466 | D241
WP03602 | Panel | 12.528 | 1 | IRMA | WI | Lincoln County | Commissioned | 2025-06-16 | 2025-08-18 | 432 | N242
WP03603 | Panel | 5.22 | 1 | MOSINEE | WI | Marathon County | Commissioned | 2025-06-16 | 2025-08-08 | 188 | N241
WP03604 | Panel Storage | 15.32 | 1 | THREE LAKES | WI | Oneida County | Commissioned | 2025-06-16 | 2025-09-22 | 340 | L242
WP03605 | Panel | 11.54 | 1 | CUSTER | WI | Portage County | Commissioned | 2025-06-18 | 2025-10-01 | 252 | T241
WP03606 | Panel | 6.08 | 1 | BAILELYS HARBOR | WI | Door County | Commissioned | 2025-06-18 | 2025-08-04 | 136 | H242
WP03608 | Panel | 6.98 | 1 | WRIGHTSTOWN | WI | Brown County | Commissioned | 2025-06-23 | 2025-08-19 | 408 | F241
WP03609 | Panel | 7.329 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-06-23 | 2025-08-15 | 29 | N241
WP03610 | Panel | 11.904 | 1 | SCHOFIELD | WI | Marathon County | Commissioned | 2025-06-24 | 2025-11-05 | 181 | L241
WP03611 | Panel | 6.08 | 1 | SISTER BAY | WI | Door County | Commissioned | 2025-06-30 | 2025-09-16 | 309 | S242
WP03612 | Panel | 23.04 | 2 | LAKEWOOD | WI | Oconto County | Commissioned | 2025-07-01 | 2025-08-04 | 240 | N242
WP03616 | Panel Storage | 11.5 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-07-03 | 2025-08-04 | 472 | W243
WP03617 | Panel | 8.448 | 1 | MOSINEE | WI | Marathon County | Commissioned | 2025-07-03 | 2025-08-15 | 188 | N242
WP03618 | Panel | 11.49 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-07-03 | 2025-09-02 | 210 | I241
WP03619 | Panel | 3.42 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2025-07-07 | 2025-09-24 | 124 | R241
WP03620 | Panel | 4.188 | 1 | DE PERE | WI | Brown County | Commissioned | 2025-07-08 | 2025-09-29 | 242 | S242
WP03622 | Panel | 3.49 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-07-09 | 2025-09-30 | 252 | T241
WP03625 | Panel | 6.84 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-07-10 | 2025-07-29 | 570 | G241
WP03626 | Panel | 7.6 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-07-10 | 2025-08-28 | 210 | I241
WP03627 | Panel Storage | 15 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-07-14 | 2025-10-27 | 385 | V242
WP03629 | Panel | 17.3 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-07-16 | 2025-11-17 | 48 | N241
WP03630 | Panel | 14.592 | 1 | MANITOWOC | WI | Manitowoc County | Commissioned | 2025-07-16 | 2025-08-26 | 290 | Z241
WP03632 | Panel | 10.47 | 1 | LAC DU FLAMBEAU | WI | Vilas County | Commissioned | 2025-07-17 | 2025-10-07 | 393 | M242
WP03633 | Panel | 11.52 | 1 | CHILTON | WI | Calumet County | Commissioned | 2025-07-18 | 2025-08-05 | 405 | A244
WP03635 | Panel | 3.42 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2025-07-24 | 2025-09-29 | 136 | H242
WP03636 | Panel | 7.6 | 1 | EPHRAIM | WI | Door County | Commissioned | 2025-07-25 | 2025-09-24 | 309 | S241
WP03638 | Panel | 19.95 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-07-28 | 2025-10-09 | 385 | V242
WP03639 | Panel | 19.95 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-07-28 | 2025-10-09 | 385 | V242
WP03640 | Panel | 4.56 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2025-07-28 | 2025-09-30 | 136 | H241
WP03641 | Panel Storage | 12.68 | 1 | RINGLE | WI | Marathon County | Commissioned | 2025-07-30 | 2025-10-16 | 181 | L241
WP03642 | Panel Storage | 11.44 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-08-04 | 2025-10-09 | 3 | O241
WP03643 | Panel | 7.296 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-08-05 | 2025-10-06 | 297 | T243
WP03644 | Panel | 7.8 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-08-05 | 2025-09-18 | 130 | A241
WP03645 | Panel Storage | 11.5 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-08-06 | 2025-10-02 | 252 | T241
WP03646 | Panel | 9.12 | 1 | SISTER BAY | WI | Door County | Commissioned | 2025-08-06 | 2025-09-29 | 309 | S241
WP03647 | Panel | 13.3 | 1 | LUXEMBURG | WI | Kewaunee County | Commissioned | 2025-08-06 | 2025-09-26 | 128 | K242
WP03648 | Panel Storage | 23 | 2 | NEW FRANKEN | WI | Brown County | Commissioned | 2025-08-06 | 2025-10-21 | 126 | K242
WP03649 | Panel | 3.8 | 1 | NEENAH | WI | Winnebago County | Commissioned | 2025-08-07 | 2025-10-17 | #N/A | 0
WP03650 | Panel | 3.8 | 1 | NEENAH | WI | Winnebago County | Commissioned | 2025-08-07 | 2025-10-17 | 223 | R241
WP03651 | Panel | 6.96 | 1 | WAUPACA | WI | Waupaca County | Commissioned | 2025-08-07 | 2025-10-01 | 420 | R241
WP03652 | Panel | 5.32 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-08-07 | 2025-09-18 | 141 | D241
WP03653 | Panel | 7.6 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-08-08 | 2025-09-22 | 252 | T242
WP03654 | Panel | 4.56 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2025-08-11 | 2025-08-21 | 136 | H242
WP03655 | Panel | 13.3 | 1 | DE PERE | WI | Brown County | Commissioned | 2025-08-11 | 2025-11-05 | 454 | L241
WP03657 | Panel Storage | 14.14 | 1 | HOBART | WI | Brown County | Commissioned | 2025-08-11 | 2025-09-24 | 215 | D242
WP03658 | Panel | 3.8 | 1 | DENMARK | WI | Brown County | Commissioned | 2025-08-11 | 2025-10-30 | 373 | K241
WP03659 | Panel | 12.54 | 1 | BRILLION | WI | Calumet County | Commissioned | 2025-08-11 | 2025-10-15 | 396 | W241
WP03660 | Panel | 3.8 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-08-11 | 2025-10-08 | 131 | V241
WP03661 | Panel | 4.06 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-08-12 | 2025-09-30 | 250 | U241
WP03662 | Panel | 7.6 | 1 | KRONENWETTER | WI | Marathon County | Commissioned | 2025-08-12 | 2025-11-07 | 238 | V242
WP03663 | Panel | 9.12 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2025-08-13 | 2025-09-19 | 136 | H241
WP03664 | Panel Storage | 11.5 | 1 | RHINELANDER | WI | Oneida County | Commissioned | 2025-08-13 | 2025-10-13 | 431 | D241
WP03665 | Panel | 11.4 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2025-08-14 | 2025-10-30 | 65 | U242
WP03668 | Panel | 5.32 | 1 | EGG HARBOR | WI | Door County | Commissioned | 2025-08-15 | 2025-09-30 | 136 | H241
WP03669 | Panel | 7.22 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-05-02 | 2025-08-29 | 570 | G241
WP03670 | Panel | 4.8 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-09-04 | 2025-11-04 | 273 | V242
WP03674 | Panel | 7.6 | 1 | HOWARD | WI | Brown County | Commissioned | 2025-08-18 | 2025-10-15 | 215 | D241
WP03676 | Panel | 7.25 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-08-18 | 2025-09-29 | 331 | V241
WP03677 | Panel | 4.94 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-08-18 | 2025-10-08 | 349 | P242
WP03678 | Panel Storage | 18.34 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-08-19 | 2025-11-06 | 26 | H241
WP03679 | Panel Storage | 11.5 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-08-19 | 2025-11-12 | 385 | V242
WP03681 | Panel | 5.235 | 1 | MOSINEE | WI | Marathon County | Commissioned | 2025-08-20 | 2025-09-10 | 188 | N242
WP03682 | Panel Storage | 11.5 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-08-20 | 2025-10-21 | 252 | T241
WP03683 | Panel | 15.96 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-08-20 | 2025-10-23 | 570 | G241
WP03684 | Panel | 7.6 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-08-20 | 2025-10-20 | 264 | T242
WP03685 | Panel | 7.6 | 1 | ATHENS | WI | Marathon County | Commissioned | 2025-08-20 | 2025-11-05 | 82 | L241
WP03686 | Panel | 6.264 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-08-22 | 2025-09-29 | 3 | O242
WP03687 | Panel | 9.6 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-08-25 | 2025-10-29 | 141 | D241
WP03689 | Panel | 6.38 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-08-26 | 2025-09-19 | 5 | W241
WP03690 | Panel | 7.6 | 1 | CUSTER | WI | Portage County | Commissioned | 2025-08-26 | 2025-10-31 | 252 | T241
WP03691 | Panel | 2.61 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-08-28 | 2025-10-09 | 385 | V242
WP03692 | Panel | 5.584 | 1 | LAKE TOMAHAWK | WI | Oneida County | Commissioned | 2025-08-28 | 2025-11-14 | 427 | 8242
WP03695 | Panel | 6.46 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-09-03 | 2025-11-11 | 220 | N241
WP03696 | Panel | 8.7 | 1 | PLOVER | WI | Portage County | Commissioned | 2025-09-03 | 2025-10-20 | 262 | Y241
WP03697 | Panel | 3.42 | 1 | WHITELAW | WI | Manitowoc County | Commissioned | 2025-09-03 | 2025-11-06 | 306 | T241
WP03698 | Panel | 7.6 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-09-03 | 2025-10-27 | 429 | P241
WP03700 | Panel | 5.584 | 1 | MOSINEE | WI | Marathon County | Commissioned | 2025-09-08 | 2025-10-24 | 238 | V242
WP03701 | Panel | 4.188 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-09-08 | 2025-10-28 | 429 | P241
WP03702 | Panel | 3.04 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-09-08 | 2025-10-14 | 37 | T242
WP03703 | Panel | 10.47 | 1 | EDGAR | WI | Marathon County | Commissioned | 2025-09-09 | 2025-10-06 | 320 | D241
WP03706 | Panel | 11.4 | 1 | PLOVER | WI | Portage County | Commissioned | 2025-09-09 | 2025-10-20 | 436 | O241
WP03707 | Panel | 8.36 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2025-09-09 | 2025-09-19 | 124 | R241
WP03710 | Panel | 2.28 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2025-08-15 | 2025-09-19 | 65 | U242
WP03711 | Panel | 11.866 | 1 | SCHOFIELD | WI | Marathon County | Commissioned | 2025-09-04 | 2025-11-19 | 466 | D241
WP03713 | Panel | 5.584 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-09-10 | 2025-11-03 | 429 | P242
WP03714 | Panel | 2.03 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-09-11 | 2025-10-17 | 252 | T241
WP03715 | Panel | 15.2 | 1 | DE PERE | WI | Brown County | Commissioned | 2025-09-11 | 2025-11-24 | 205 | D241
WP03716 | Panel | 7.6 | 1 | EDGAR | WI | Marathon County | Commissioned | 2025-09-11 | 2025-11-05 | 320 | D241
WP03718 | Panel | 12.913 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2025-09-11 | 2025-10-16 | 124 | R241
WP03719 | Panel | 4.188 | 1 | WAUSAU | WI | Marathon County | Commissioned | 2025-09-11 | 2025-11-21 | 301 | S242
WP03721 | Panel | 4.56 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2025-09-12 | 2025-10-03 | 124 | R241
WP03723 | Panel | 10.64 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-09-12 | 2025-10-27 | 199 | S241
WP03725 | Panel | 8.36 | 1 | DE PERE | WI | Brown County | Commissioned | 2025-09-15 | 2025-10-22 | 205 | D241
WP03729 | Panel | 9.88 | 1 | MANITOWOC | WI | Manitowoc County | Commissioned | 2025-09-16 | 2025-11-21 | 290 | Z241
WP03731 | Panel | 10.26 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2025-09-17 | 2025-10-10 | 309 | S242
WP03734 | Panel | 4.56 | 1 | GREEN BAY | WI | Brown County | Commissioned | 2025-09-18 | 2025-10-21 | 37 | T242
WP03735 | Panel | 9.57 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-09-22 | 2025-10-29 | 3 | O241
WP03739 | Panel | 3.42 | 1 | ONEIDA | WI | Brown County | Commissioned | 2025-09-24 | 2025-11-19 | 220 | N241
WP03742 | Panel | 10.26 | 1 | KEWAUNEE | WI | Kewaunee County | Commissioned | 2025-09-25 | 2025-11-20 | 128 | K241
WP03744 | Panel | 7.6 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-09-25 | 2025-10-20 | 3 | O241
WP03745 | Panel | 4.537 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-09-25 | 2025-11-13 | 3 | O241
WP03746 | Panel | 5.584 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-09-25 | 2025-11-17 | #N/A | 0
WP03747 | Panel | 8.725 | 1 | HATLEY | WI | Marathon County | Commissioned | 2025-09-25 | 2025-11-05 | 181 | L241
WP03748 | Panel | 7.6 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-09-26 | 2025-11-20 | 385 | V241
WP03750 | Panel | 6.4 | 1 | OSHKOSH | WI | Winnebago County | Commissioned | 2025-09-26 | 2025-10-21 | 474 | A241
WP03752 | Panel | 4.56 | 1 | STURGEON BAY | WI | Door County | Commissioned | 2025-09-26 | 2025-10-27 | 124 | R241
WP03755 | Panel | 7.6 | 1 | SISTER BAY | WI | Door County | Commissioned | 2025-09-26 | 2025-10-27 | 309 | S241
WP03756 | Panel | 4.94 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2025-09-26 | 2025-11-17 | 136 | H242
WP03757 | Panel | 6.38 | 1 | DE PERE | WI | Brown County | Commissioned | 2025-09-29 | 2025-11-06 | 373 | K242
WP03762 | Panel | 7.84 | 1 | STEVENS POINT | WI | Portage County | Commissioned | 2025-10-06 | 2025-11-24 | 252 | T242
WP03765 | Panel Storage | 16.84 | 1 | EGG HARBOR | WI | Door County | Commissioned | 2025-10-07 | 2025-11-22 | 136 | H241
WP03767 | Panel | 3.04 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2025-10-09 | 2025-11-13 | 136 | H242
WP03769 | Panel | 9.984 | 1 | MISHICOT | WI | Manitowoc County | Commissioned | 2025-10-13 | 2025-11-11 | 373 | K241
WP03797 | Panel | 5.7 | 1 | BAILEYS HARBOR | WI | Door County | Commissioned | 2025-10-30 | 2025-11-19 | #N/A | 0
WP03801 | Panel | 7.82 | 1 | EGG HARBOR | WI | Door County | Commissioned | 2025-11-04 | 2025-11-18 | 136 | H241
WP99999 | Panel | 50 | 2 | LAONA | WI | Forest County | Commissioned | 2023-04-12 | 2024-08-20 | 307 | C241